## Slide 1: Water Quality
-Usha
-Suhas

## Slide 2: Current Considerations
Total Dissolved Salts (TDS Sensor)
pH Sensor
Turbidity

## Slide 3: TDS
Need and necessity to calibrate TDS Sensors
Two Approaches Planned
        1. Setting the Off-Set of the sensors
        2. Calibrating the sensors using Standard NaCl Solutions

## Slide 6: pH Sensor
The sensor has to be dipped in 3N KCl Solution for 8 hours for initial sensor calibration.
Need to Calibrate pH sensor using the Different pH Solutions

## Slide 7: Turbidity
Need Standard Turbidity Solutions for Calibration
Formazine Solution is used

## Slide 8: Total Requirements
Distilled Water
Measuring Beakers-250,125,500 ml
3N KCl-pH Sensor
Formazine Solution-Turbidity Sensor
Storage Containers Specifications