Water Monitoring Location Information

Phase-1 Development:

| S. No. | Location | Number of Nodes | Node Location | Sensors planned | Constraints | Wi-Fi Availability | Comments | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Vindhya | 4 | RO Tank (SPCRC) | TDS, Temperature | Extra Socket | YES |  |  |
|  |  |  | RO Tank (FDD Lab) | TDS, Temperature | Probe Length must be changed. | YES |  |  |
|  |  |  | RO Tank (Third Floor) | TDS, Temperature | Tile Walls, Extra Socket needed | YES |  |  |
|  |  |  | RO Tank (Third Floor) | TDS, Temperature | Tile Walls, Extra Socket needed | YES |  |  |
|  |  |  | RO Tank (Third Floor) | TDS, Temperature | Extra Socket needed | YES |  |  |
| 2 | Pump room-1 (at Main gate) | 1 | SUMP | TDS, Temperature, Water Flow | Extra Socket with wiring for power and probes | YES |  |  |

Planned in Further Phases:

| S. No. | Location |  | Number of Nodes |  | Node Location | Sensor | Constraints | Wi-Fi Constraints | Comments | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | Nilgiri |  | 1 |  | Sump | TDS, Temperature | To be planned | To be planned |  |  |
| 4 | Admin block, Himalaya range 'A' Block |  | 1 |  | Sump, SS Tanks | TDS, Temperature, Water Flow | To be planned | To be planned |  |  |
| 5 | Kohli Research Block, Himalaya 'B' Block |  | 1 |  | Sump, SS Tanks | TDS, Temperature | To be planned | To be planned |  |  |
| 6 | Bodh Bhavan, Himalaya 'C' Block |  |  |  | Sump, SS Tanks | TDS, Temperature | To be planned | To be planned |  |  |
| 7 | T-Hub (Himalaya 'D' Block) |  |  |  | Sump, SS Tanks | TDS, Temperature | To be planned | To be planned |  |  |
| 8 | Anand Nivas (Faculty & staff quarters) | 1 |  |  | Sump, | TDS, Temperature | To be planned | To be planned |  |  |
|  |  | 1 |  |  | Overhead tank | pH, Turbidity, Water level, |  |  |  |  |
| 9 | Budha Nivas (Faculty & staff quarters) | 1 |  |  | Sump | TDS, Temperature | To be planned | To be planned |  |  |
| 10 | Palash Nivas (Boys Hostel) | 2 |  |  | Sump | TDS, Temperature | To be planned | To be planned |  |  |
|  |  | 1 |  |  | Overhead Tank | pH, Turbidity, Water Level, Flow Sensor |  |  |  |  |
| 11 | Kadamba Nivas (Boys Hostel) | 2 |  |  | Sump | TDS, Temperature, Water Flow | To be planned | To be planned |  |  |
| 12 | Parijath Nivas (Girls Hostel) | 1 |  |  | Overhead Tank | pH, Turbidity, Water Level, Water Flow | To be planned | To be planned |  |  |
| 13 | New women's Hostel-'A', 'B' & 'C' blocks | 2 |  |  | Sump & RO tank | TDS, Temperature | To be planned | To be planned |  |  |
| 14 | Bakul Nivas (Boys Hostel) | 2 |  |  | SS Tanks | TDS, Temperature | To be planned | To be planned |  |  |
|  |  | 1 |  |  | Overhead tank | pH, Turbidity, Water Level, |  |  |  |  |
| 15 | Sahana Atidhi Nivas (Guest House) | 1 |  |  | Pipes | Water Flow | To be planned | To be planned |  |  |
| 16 | Old Faculty Quarters | 1 |  |  | Pipes | Water Flow | To be planned | To be planned |  |  |
| 17 | Pump room-2 (at Sreenu canteen) | 1 |  |  |  | Water Flow | To be planned | To be planned |  |  |
| 18 | Pump room-3 (at FSQ) | 1 |  |  |  | Water Flow | To be planned | To be planned |  |  |

Phase-1 Development Location Pictures:

Figure 1 VN00_01

Figure 2 VN00_02

Figure 3 VN00_03

Figure 4 VN00_04